## Cover Sheet
| Title: NEON Data Products Catalog |  |  |  | Date: 12/06/2019 |  |  | Title: NEON Data Products Catalog |  |  | Date: 12/06/2019
| NEON Doc #: NEON.DOC.002652 |  | Author: C. Lunch |  | Revision: C |  |  | NEON Doc #: NEON.DOC.002652 |  | Author: C. Lunch | Revision: C
NEON LEVEL 1, LEVEL 2 AND LEVEL 3 DATA PRODUCTS CATALOG | [5 empty] | Change Record
PREPARED BY (Name) |  | ORGANIZATION |  | DATE |  | REVISION | DATE |  | ECO # | DESCRIPTION OF CHANGE
Claire Lunch |  | SCI |  | 2019-11-19 |  | A | 2014-12-12 |  | ECO-02555 | Initial release, supersedes NEON.DOC.005004 Level 1 Data Products Catalog
[6 empty] | B | 2015-09-23 |  | ECO-03229 | Second release (Version B); changes are captured in associated documentation provided to NSF via CRE2.10.0016
APPROVALS (Name) |  | ORGANIZATION |  | DATE
Kate Thibault |  | SCI |  | 2019-12-06
[6 empty] | C | 2019-12-06 |  | ECO-06326 | Update to match 2019 data availability on Data Portal; update document title to reflect that data products of all levels are captured
RELEASED BY (Name) |  | ORGANIZATION |  | DATE
Anne Balsley |  | CM |  | 2019-12-06
The National Ecological Observatory Network is a project solely funded by the National Science Foundation and managed under cooperative agreement by Battelle. Any opinions, findings, and conclusions or recommendations expressed in this material are those of the author(s) and do not necessarily reflect the views of the National Science Foundation.

## Data Products
Data Product ID | Data Product Name | Description | Data Product Level | Science Team | Themes
DP1.00001 | 2D wind speed and direction | Two-dimensional wind speed and direction, available as two- and thirty-minute aggregations of 1 Hz observations. Observations are made by 2-D sonic anemometer sensors located at multiple heights on the tower infrastructure and by 2-D sonic anemometer sensors located on the aquatic meteorological station. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.20046 | Air temperature above water on-buoy | Air temperature, available as one- and thirty-minute averages. Observations are made on the meteorology station on the buoy in lakes and rivers. | Level 1 | Aquatic Instrument System (AIS) | AtmosphereEcohydrology
DP2.30011 | Albedo - spectrometer - flightline | Total amount of solar radiation in the 0.4 to 2.5 micron band reflected by the Earth surface into an upward hemisphere divided by the total amount incident from this hemisphere; data are provided by flightline | Level 2 | Airborne Observation Platform (AOP) | AtmosphereLand Use, Land Cover, and Land Processes
DP3.30011 | Albedo - spectrometer - mosaic | Total amount of solar radiation in the 0.4 to 2.5 micron band reflected by the Earth‚Äôs surface into an upward hemisphere divided by the total amount incident from this hemisphere | Level 3 | Airborne Observation Platform (AOP) | AtmosphereLand Use, Land Cover, and Land Processes
DP1.20063 | Aquatic plant bryophyte chemical properties | Carbon (C) and nitrogen (N) concentrations of aquatic plant and bryophytes from benthic collections in lakes, non-wadeable streams, and wadeable streams | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20066 | Aquatic plant bryophyte macroalgae clip harvest | Dry weight of aquatic plant, bryophyte, and macroalgae from benthic quadrats in lakes, non-wadeable streams, and wadeable streams | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and Communities
DP1.20072 | Aquatic plant, bryophyte, lichen, and macroalgae point counts in wadeable streams | Point counts of aquatic plants, bryophytes, lichens, and macroalgae from transects in wadeable streams | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and Communities
DP1.20004 | Barometric pressure above water on-buoy | Barometric pressure, available as one- and thirty-minute averages for both station pressure and pressure reduced to sea level. Observations are made on the meteorology station on the buoy in lakes and rivers. | Level 1 | Aquatic Instrument System (AIS) | AtmosphereEcohydrology
DP1.00004 | Barometric pressure | Barometric pressure is available as one- and thirty-minute averages for station pressure, which is determined from 0.1 Hz observations. Barometric pressure corrected to sea level and surface level (defined as water surface at aquatic sites and soil surface at terrestrial sites) is derived from station pressure averages and available at one- and thirty-minute increments. Observations are made by a single digital barometer located on the tower infrastructure and a single digital barometer located on the aquatic meteorological station. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP4.00132 | Bathymetric and morphological maps | Bathymetry of lake bottoms and non-wadeable streams for detecting environmental change as well as for determining lake morphology, estimating primary productivity, habitat features, and water quality. | Level 4 | Aquatic Observation System (AOS) | EcohydrologyLand Use, Land Cover, and Land Processes
DP1.20086 | Benthic microbe community composition | Counts and relative abundances of archaeal, bacterial, and fungal taxa observed in benthic microbial communities | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20277 | Benthic microbe group abundances | Counts and relative abundances of marker genes from total archaea, bacteria, and fungi observed by qPCR in benthic microbial communities | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20280 | Benthic microbe marker gene sequences | DNA sequence data from ribosomal RNA marker genes from benthic samples | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20279 | Benthic microbe metagenome sequences | Metagenomic sequence data from benthic samples | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.10003 | Breeding landbird point counts | Count, distance from observer, and taxonomic identification of breeding landbirds observed during point counts | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP4.00200 | Bundled data products - eddy covariance | Bundle of eddy-covariance data products, including related meteorological and soil data products. | Level 4 | Terrestrial Instrument System (TIS) | AtmosphereLand Use, Land Cover, and Land Processes
DP2.30022 | Canopy lignin - flightline | Normalized index of canopy lignin concentration; data are provided by flightline | Level 2 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP3.30022 | Canopy lignin - mosaic | Normalized index of canopy lignin concentration. Level 2 products derived from individual flight lines over a given site are mosaiced into single product; spatial resolution is 1m. | Level 3 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP2.30018 | Canopy nitrogen - flightline | Normalized difference nitrogen index (NDNI) from remotely sensed data; data are provided by flightline | Level 2 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP3.30018 | Canopy nitrogen - mosaic | Measure of canopy nitrogen concentration in remotely sensed data. Level 2 products derived from individual flight lines over a given site are mosaicked into single product; spatial resolution is 1m. | Level 3 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP2.30019 | Canopy water content - flightline | Normalized index of canopy water content; data are provided by flightline | Level 2 | Airborne Observation Platform (AOP) | EcohydrologyLand Use, Land Cover, and Land Processes
DP3.30019 | Canopy water content - mosaic | Normalized index of canopy water content. Level 2 products derived from individual flight lines over a given site are mosaicked into single product; spatial resolution is 1m. | Level 3 | Airborne Observation Platform (AOP) | EcohydrologyLand Use, Land Cover, and Land Processes
DP2.30020 | Canopy xanthophyll cycle - flightline | Normalized index of xanthophyll concentration; data are provided by flightline | Level 2 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP3.30020 | Canopy xanthophyll cycle - mosaic | Normalized index of xanthophyll concentration. Level 2 products derived from individual flight lines over a given site are mosaicked into single product; spatial resolution is 1m. | Level 3 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP1.20092 | Chemical properties of groundwater | Grab samples of groundwater chemistry including general chemistry, anions, cations, and nutrients. | Level 1 | Aquatic Observation System (AOS) | EcohydrologyBiogeochemistry
DP1.20093 | Chemical properties of surface water | Grab samples of surface water chemistry including general chemistry, anions, cations, and nutrients. | Level 1 | Aquatic Observation System (AOS) | EcohydrologyBiogeochemistry
DP1.10014 | Coarse downed wood bulk density sampling | Raw bulk density measurements of coarse downed wood >= 2 cm diameter | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.10010 | Coarse downed wood log survey | Tally and raw measurement of coarse downed wood >= 2 cm diameter | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20254 | Depth profile at specific depths | Measurements of water column temperature and depth profile in non-wadeable streams and lakes | Level 1 | Aquatic Observation System (AOS) | Ecohydrology
DP1.10017 | Digital hemispheric photos of plot vegetation | Upward and/or downward facing digital 180-degree images of vegetation in plots used to calculate leaf area index | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP1.30003 | Discrete return LiDAR point cloud | Unclassified three-dimensional point cloud stored in LAS format. Classifications follow ASPRS definition. All point coordinates are provided in meters. Data provided by flightline. | Level 1 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP1.20097 | Dissolved gases in surface water | Grab samples of surface water dissolved gases including carbon dioxide, methane, and nitrous oxide | Level 1 | Aquatic Observation System (AOS) | EcohydrologyBiogeochemistry
DP1.00017 | Dust and particulate size distribution | Near real-time measurements of PM1.0, PM2.5, PM4, PM10, PM15 and TSP in the atmosphere using a optical sensor. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereLand Use, Land Cover, and Land Processes
DP3.30015 | Ecosystem structure | Height of the top of canopy above bare earth (Canopy Height Model (CHM)); data are mosaicked over AOP footprint; mosaicked onto a spatially uniform grid at 1 m spatial resolution in 1 km by 1 km tiles. | Level 3 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP3.30024 | Elevation - LiDAR | Bare earth elevation given in meters above mean sea level (topographic information with vegetation and man-made structures removed) and mosaicked onto a spatially uniform grid at 1 m spatial resolution in 1 km by 1 km tiles. Surface features given in meters above mean sea level (topographic information with vegetation and man-made structures removed) and mosaicked onto a spatially uniform grid at 1 m spatial resolution in 1 km by 1 km tiles. | Level 3 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP1.20100 | Elevation of groundwater | Sensor based measurement of groundwater elevation calculated from pressure transducer readings in each well | Level 1 | Aquatic Instrument System (AIS) | Ecohydrology
DP1.20016 | Elevation of surface water | Measurements of water surface elevation, available as one-, five-, and thirty-minute averages in lakes and wadeable streams. Based on sensor measurements of water pressure. | Level 1 | Aquatic Instrument System (AIS) | Ecohydrology
DP1.30012 | Field spectral data | Reflectance of collected sample(s) using leaf clip and hand-held field Spectrometer; opportunistic product, provided when collected. | Level 1 | Airborne Observation Platform (AOP) | BiogeochemistryOrganisms, Populations, and CommunitiesLand Use, Land Cover, and Land Processes
DP1.20107 | Fish electrofishing, gill netting, and fyke netting counts | Counts of fish from electrofishing surveys in wadeable streams, or electrofishing, gill netting, and/or fyke netting surveys in lakes. Includes fish standard length and individual mass | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and Communities
DP1.20105 | Fish sequences DNA barcode | CO1 DNA sequences from select fish in lakes and wadeable streams | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and Communities
DP2.30014 | fPAR - spectrometer - flightline | The fraction of incident photosynthetically active radiation (400-700 nm) absorbed by the green elements of a vegetation canopy; calculated by an industry standard (ATCOR) algorithm based on Soil Adjusted Vegetation Index (SAVI) as input; data are provided by flightline at equivalent resolution to spectrometer orthorectified surface directional reflectance, carbon and nutrient cycling due to its relationship with vegetative productivity. | Level 2 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP3.30014 | fPAR - spectrometer - mosaic | The fraction of incident photosynthetically active radiation (400-700 nm) absorbed by the green elements of a vegetation canopy; mosaiced from the fPAR level 2 product onto a spatially uniform grid at 1 m spatial resolution and provided as 1 km by 1 km tiles. | Level 3 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP1.20267 | Gauge height | Gauge height, in meters, measured at lakes, wadeable streams and non-wadeable streams. | Level 1 | Aquatic Instrument System (AIS) | Ecohydrology
DP1.10020 | Ground beetle sequences DNA barcode | CO1 DNA sequences from select ground beetles | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.10022 | Ground beetles sampled from pitfall traps | Taxonomically identified ground beetles and the plots and times from which they were collected. | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.20099 | Groundwater and active layer measurements at permafrost sites | Measurements from ground surface to liquid groundwater and active layer thaw. Collected at sites with permafrost. | Level 1 | Aquatic Instrument System (AIS) | Ecohydrology
DP1.10023 | Herbaceous clip harvest | Dry weight of herbaceous vegetation harvested from individual clip strips, by functional type | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP3.30010 | High-resolution orthorectified camera imagery mosaic | Level 1 high-resolution orthorectified camera images are mosaiced and tiled into 1 km by 1 km data sets. Mosiac is output onto a fixed, uniform spatial grid using nearest-neighbor resampling; spatial resolution is maintained at 0.1 m. | Level 3 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP1.30010 | High-resolution orthorectified camera imagery | White balanced 8 bit RGB images orthorectified and output onto a fixed, uniform spatial grid using nearest neighbor resampling to a 10 cm spatial resolution. | Level 1 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP1.00005 | IR biological temperature | Infrared temperature, available as one- and thirty-minute averages of 1 Hz observations. Biological temperature (i.e. surface temperature) is measured via IR temperature sensors located in the soil array and at multiple heights on the tower infrastructure. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereLand Use, Land Cover, and Land Processes
DP2.30012 | LAI - spectrometer - flightline | The ratio of upper leaf surface area to ground area (for broadleaf canopies), or projected conifer needle surface area to ground area (for coniferous plants) for a given unit area; measured by an industry standard (ATCOR) algorithm based on Soil Adjusted Vegetation Index (SAVI) as input; data are provided by flightline. | Level 2 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP3.30012 | LAI - spectrometer - mosaic | The ratio of upper leaf surface area to ground area (for broadleaf canopies), or projected conifer needle surface area to ground area (for coniferous plants) for a given unit area; Level 2 products derived from individual flight lines over a given site are mosaiced into single product; spatial resolution is 1m. | Level 3 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP1.20002 | Land-water interface images | RGB and IR images of the lake, river, or stream riparian vegetation and stream surface taken from an automated camera. Images are collected every 15 minutes. | Level 1 | Aquatic Instrument System (AIS) | EcohydrologyOrganisms, Populations, and CommunitiesLand Use, Land Cover, and Land Processes
DP1.30001 | LiDAR slant range waveform | Outgoing pulse and slant range return waveform signals with geolocation information provided, but no spatial resampling. Data are provided by flightline in a binary format designed by NEON. | Level 1 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP1.10031 | Litter chemical properties | Bulk litter chemistry at the scale of a plot. Data are reported by functional group (leaves vs. needles). | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.10101 | Litter stable isotopes | Bulk litter stable isotope values at the scale of a plot. Data are reported by functional group (leaves vs. needles). | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.10033 | Litterfall and fine woody debris sampling | Dry weight of litterfall and fine woody debris collected from elevated litter traps and ground traps, by functional group | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20120 | Macroinvertebrate collection | Collection of benthic macroinvertebrates using multiple sampling methods in lakes, non-wadeable streams, and wadeable streams | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and Communities
DP1.20126 | Macroinvertebrate DNA barcode | CO1 DNA sequences of the aquatic macroinvertebrate community | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and Communities
DP1.10038 | Mosquito sequences DNA barcode | CO1 DNA sequences from select mosquitoes | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.10041 | Mosquito-borne pathogen status | Presence/absence of a pathogen in a single mosquito sample (pool) | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.10043 | Mosquitoes sampled from CO2 traps | Taxonomically identified mosquitoes and the plots and times from which they were collected | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.20033 | Nitrate in surface water | In situ sensor-based nitrate concentration, available as fifteen minute averages in surface water in lakes, wadeable and non-wadeable streams | Level 1 | Aquatic Instrument System (AIS) | EcohydrologyBiogeochemistry
DP1.10045 | Non-herbaceous perennial vegetation structure | Field measurements of individual non-herbaceous perennial plants (e.g. cacti, ferns) | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.00101 | Particulate mass | Dust mass and density measured by a high volume dust sampler and quartz filters. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereLand Use, Land Cover, and Land Processes
DP1.20163 | Periphyton, seston, and phytoplankton chemical properties | Carbon (C), nitrogen (N), phosphorus (P), isotopes, chlorophyll a, and pheophytin of periphyton, seston, and phytoplankton from benthic and water column samples in lakes, non-wadeable streams, and wadeable streams | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20166 | Periphyton, seston, and phytoplankton collection | Collection and biomass of periphyton, seston, and phytoplankton using multiple benthic and water column sampling methods in lakes, non-wadeable streams, and wadeable streams | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and Communities
DP1.00033 | Phenology images | RGB and IR images of the plant canopy taken from an automated camera on the tower top. Images are collected every 15 minutes and closely follow protocols of the Phenocam Network. | Level 1 | Terrestrial Instrument System (TIS) | Organisms, Populations, and CommunitiesLand Use, Land Cover, and Land Processes
DP1.00024 | Photosynthetically active radiation (PAR) | Photosynthetically Active Radiation (PAR) observations represent the radiation flux at wavelengths between 400-700 nm, which constitute the wavelengths that drive photosynthesis. This data product is available as one- and thirty-minute averages of 1 Hz observations. Observations are made by sensors located at multiple heights on the tower infrastructure and by sensors located on the aquatic meteorological station. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.00066 | Photosynthetically active radiation (quantum line) | The quantum line sensor provides spatially averaged observations of photosynthetically active radiation (PAR), i.e., wavelengths between 400-700 nm, at the soil surface over a one meter length. This data product is available as one- and thirty-minute averages of 1 Hz observations. Observations are obtained by sensors located throughout the soil array. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.20042 | Photosynthetically active radiation at water surface | Photosynthetically Active Radiation (PAR) observations represent the radiation flux at wavelengths between 400-700 nm, which constitute the wavelengths that drive photosynthesis. This data product is available as one-, five-, and thirty-minute averages. Observations are made at the aquatic sensor set location at lakes, non-wadeable streams, and wadeable streams. | Level 1 | Aquatic Instrument System (AIS) | AtmosphereEcohydrology
DP1.20261 | Photosynthetically active radiation below water surface | Photosynthetically Active Radiation (PAR) observations represent the radiation flux at wavelengths between 400-700 nm, which constitute the wavelengths that drive photosynthesis. This data product is available as one- and thirty-minute averages. Observations are made at the aquatic sensor sets at the lake inlet, lake outlet, and both lake and river buoys. | Level 1 | Aquatic Instrument System (AIS) | AtmosphereEcohydrology
DP1.10026 | Plant foliar physical and chemical properties | Plant sun-lit canopy foliar physical (e.g., leaf mass per area) and chemical properties reported at the level of the individual (woody plants) or community (herbaceous plants). | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.10053 | Plant foliar stable isotopes | Plant sun-lit canopy foliar stable isotope values reported at the level of the individual (woody plants) or community (herbaceous plants). | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.10055 | Plant phenology observations | Phenophase status and intensity of tagged plants | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.10058 | Plant presence and percent cover | Plant species presence as observed in multi-scale plots: species and associated percent cover at 1-m2 and plant species presence at 10-m2, 100-m2 and 400-m2 | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.00006 | Precipitation | Precipitation is observed using one of two sensors. Primary precipitation is observed using a weighing gauge housed within a small double fence intercomparison reference, which is generally located within 0.5 km of the tower infrastructure. Secondary precipitation is observed using a tipping bucket located on the top of the tower infrastructure. Ground level precipitation (also known as throughfall) is also observed using tipping buckets at 3 of 5 soil array locations. Bulk precipitation is determined at five- and thirty-minute intervals for primary precipitation and at one- and thirty-minute intervals for secondary precipitation. AIS sites only include Primary (DFIR at Core Aquatic sites; currently only 2 or 3) or Secondary (tipping buckets at relocatable sites; currently about 8). No AIS sites have both; no AIS sites have the equivalent of throughfall. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrology
DP1.20190 | Reaeration field and lab collection | Field and external laboratory data from the salt-tracer and gas injection field reaeration measurements, including stream widths, inert gas concentrations, gas loss rate calculations, and travel time calculations. | Level 1 | Aquatic Observation System (AOS) | EcohydrologyBiogeochemistry
DP1.20271 | Relative humidity above water on-buoy | Relative humidity, temperature, and dew or frost point temperature, available as one- and thirty-minute averages. Observations are made by sensors located on the buoy in lakes and rivers. | Level 1 | Aquatic Instrument System (AIS) | AtmosphereEcohydrology
DP1.00098 | Relative humidity | Relative humidity, temperature, and dew or frost point temperature, available as one- and thirty-minute averages of 1 Hz observations. Observations are made by sensors located at the top of the tower infrastructure, in the soil array, and on the aquatic meteorologic station. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrology
DP1.20275 | Riparian composition and structure | Assessment of riparian vegetation composition and physical structure in lakes, non-wadeable streams, and wadeable streams | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and CommunitiesLand Use, Land Cover, and Land Processes
DP1.20191 | Riparian vegetation % cover | Assessment of riparian vegetation percent cover in wadeable streams | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and CommunitiesLand Use, Land Cover, and Land Processes
DP1.10064 | Rodent-borne pathogen status | Presence/absence of a pathogen (or antibodies to a pathogen) in each single rodent sample | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.10102 | Root chemical properties | Fine root chemistry from cores or pits. Data are reported by size class. | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.10066 | Root sampling (Megapit) | Fine root biomass in 10cm increments (first 1m depth) and 20cm increments (from 1m to 2m depth) from soil pit sampling | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.10067 | Root sampling tower plots | Fine root biomass to 30cm depth via soil core sampling | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.10099 | Root stable isotopes | Fine root stable isotope values from cores or pits. Data are reported by size class. | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.20193 | Salt-based stream discharge | Discharge measured using a constant-rate addition salt tracer during reaeration measurements | Level 1 | Aquatic Observation System (AOS) | Ecohydrology
DP1.20252 | Secchi depth | Measurement of water column Secchi depth in non-wadeable streams and lakes | Level 1 | Aquatic Observation System (AOS) | Ecohydrology
DP1.20194 | Sediment chemical properties | Inorganic, organic, and organic contaminant analyses of wadeable stream, non-wadeable stream, and lake bed sediments | Level 1 | Aquatic Observation System (AOS) | Biogeochemistry
DP1.20197 | Sediment physical properties | Size analysis of wadeable stream, non-wadeable stream, and lake bed sediments | Level 1 | Aquatic Observation System (AOS) | Biogeochemistry
DP1.00023 | Shortwave and longwave radiation (net radiometer) | Net radiation is composed of incoming and outgoing shortwave and longwave radiation. These data products are available as one- and thirty-minute averages of 1 Hz observations. Observations of net shortwave and longwave radiation are made by a sensor located at the top of the tower infrastructure, while only net longwave radiation is observed in the soil array. Observations of net shortwave and longwave radiation are made by a four-component sensor located on the aquatic meteorological station. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.20032 | Shortwave and longwave radiation above water on-buoy (net radiometer) | Net shortwave and longwave radiation on buoys is measured twice per minute and is reported as 1-minute and 30-minute mean values. | Level 1 | Aquatic Instrument System (AIS) | AtmosphereEcohydrology
DP1.00014 | Shortwave radiation (direct and diffuse pyranometer) | Total, direct beam, and diffuse shortwave radiation, available as one- and thirty-minute averages of 1 Hz observations. Observations are made by a sensor located at the top of the tower infrastructure. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.00022 | Shortwave radiation (primary pyranometer) | Total shortwave radiation, available as one- and thirty-minute averages of 1 Hz observations. The primary pyranometer is housed in a heated and aspirated ventilation unit and observes incoming shortwave radiation at the top of the tower infrastructure. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.00002 | Single aspirated air temperature | Air temperature, available as one- and thirty-minute averages of 1 Hz observations. Observations are made by sensors located at multiple heights on the tower infrastructure and by sensors located on the aquatic meteorological station. Temperature observations are made using platinum resistance thermometers, which are housed in a fan aspirated shield to reduce radiative bias. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.10111 | Site management and event reporting | This data product contains records of land management activities, disturbances, and other incidents of ecological note within all NEON sites | Level 1 | Terrestrial Observation System (TOS) | Land Use, Land Cover, and Land Processes
DP3.30025 | Slope and Aspect - LiDAR | Slope is a ratio of rise over run (height over distance) of the bare earth elevation product given in degrees; aspect is the direction of the steepest slope of the bare earth elevation product (e.g., north, east, south, west) given in degrees clockwise from grid north; both mosaicked onto a spatially uniform grid at 1 m spatial resolution in 1 km by 1 km tiles. | Level 3 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP1.10072 | Small mammal box trapping | Individual- and trap-level data collected using box traps designed to capture small mammals | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.10076 | Small mammal sequences DNA barcode | CO1 DNA sequences from select small mammals | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.00042 | Snow depth and understory phenology images | Camera images of snow depth relative to mounted/calibrated depth stakes when snow is present; images used to track understory phenology when possible (see NEON.DOM.SITE.DP1.00033). | Level 1 | Terrestrial Instrument System (TIS) | Land Use, Land Cover, and Land Processes
DP1.10008 | Soil chemical properties (Distributed initial characterization) | Soil chemical properties of a soil core that was sampled by the NRCS as part of initial site characterization activities at the NEON site. Data are reported by horizon for the top 1m of the soil profile. Also see distributed periodic and megapit soil data. | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.10078 | Soil chemical properties (Distributed periodic) | Soil chemistry from the top 30 cm of the profile from periodic soil core collections. Data are reported by horizon (mineral vs. organic). See initial characterization and megapit products for additional soil data. | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.00097 | Soil chemical properties (Megapit) | Total content of a range of chemical elements, pH, and electrical conductivity in the <= 2 mm soil fraction for each soil horizon. Data were derived from a sampling location expected to be representative of the area where the Instrumented Soil Plots per site are located and were collected once during site construction. Also see distributed soil data products. | Level 1 | Terrestrial Instrument System (TIS) | Biogeochemistry
DP1.00095 | Soil CO2 concentration | CO2 concentration in soil air at various depth below the soil surface starting at 2 cm. Data are from all five Instrumented Soil Plots per site and presented as 1-minute and 30-minute averages. | Level 1 | Terrestrial Instrument System (TIS) | Biogeochemistry
DP1.00040 | Soil heat flux plate | The amount of thermal energy moving by conduction across an area of soil in a unit of time. Measured as part of the soil array. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistry
DP1.10080 | Soil inorganic nitrogen pools and transformations | Soil inorganic nitrogen concentrations and rates of net nitrogen mineralization and net nitrification from the top 30 cm of the profile. Data are reported by horizon (organic vs. mineral) within a soil core. | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.10104 | Soil microbe biomass | Quantitative abundance of total microbes in soil samples | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.10081 | Soil microbe community composition | Counts and relative abundances of archaeal, bacterial, and fungal taxa observed in soil microbial communities | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.10109 | Soil microbe group abundances | Counts and relative abundances of marker genes from total archaea, bacteria, and fungi observed by qPCR in soil microbial communities | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.10108 | Soil microbe marker gene sequences | DNA sequence data from ribosomal RNA marker genes from soil samples | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.10107 | Soil microbe metagenome sequences | Metagenomic sequence data from soil samples | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and CommunitiesBiogeochemistry
DP1.10047 | Soil physical properties (Distributed initial characterization) | Soil physical properties of a soil core that was sampled by the NRCS as part of initial site characterization activities at the NEON site. Data are reported by horizon for the top 1m of the soil profile. Also see distributed periodic and megapit soil data. | Level 1 | Terrestrial Observation System (TOS) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP1.10086 | Soil physical properties (Distributed periodic) | Soil physical properties from the top 30 cm of the profile from periodic soil core collections. Data are reported by horizon (mineral vs. organic). See initial characterization and megapit products for additional soil data. | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.00096 | Soil physical properties (Megapit) | Soil taxonomy, horizon names, horizon depths, as well as soil bulk density and texture (sand, silt, and clay content) in the <= 2 mm soil fraction for each soil horizon. Data were derived from a sampling location expected to be representative of the area where the Instrumented Soil Plots per site are located and were collected once during site construction. Also see distributed soil data products. | Level 1 | Terrestrial Instrument System (TIS) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP1.10100 | Soil stable isotopes (Distributed periodic) | Soil stable isotope values from the top 30 cm of the profile from periodic soil core collections. Data are reported by horizon (mineral vs. organic). See initial characterization and megapit products for additional soil data. | Level 1 | Terrestrial Observation System (TOS) | Biogeochemistry
DP1.00041 | Soil temperature | Temperature of the soil at various depth below the soil surface from 2 cm up to 200 cm at non-permafrost sites (up to 300 cm at Alaskan sites). Data are from all five Instrumented Soil Plots per site and presented as 1-minute and 30-minute averages. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistry
DP1.00094 | Soil water content and water salinity | Soil volumetric water content and an index of salinity at various depth below the soil surface from 2 cm up to 200 cm at non-permafrost sites (up to 300 cm at Alaskan sites). Data are from all five Instrumented Soil Plots per site and presented as 1-minute and 30-minute averages. | Level 1 | Terrestrial Instrument System (TIS) | Ecohydrology
DP1.20015 | Specific conductivity in groundwater | In situ sensor-based measurements of specific conductance of groundwater in wells | Level 1 | Aquatic Instrument System (AIS) | Ecohydrology
DP1.00043 | Spectral sun photometer - calibrated sky radiances | Calibrated Sky Radiances; includes Almucantar Radiance Data and Principal Plane Radiance Data. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.30006 | Spectrometer orthorectified surface directional reflectance - flightline | Surface reflectance (0-1 unitless, scaled by 10,000) computed from the NEON Imaging Spectrometer using ATCOR4r is orthorectified and output onto a fixed, uniform spatial grid using nearest-neighbor resampling. Fixed spatial grid is based on the native spatial resolution which is driven by the aircraft altitude; data are provided by flightline. | Level 1 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP3.30006 | Spectrometer orthorectified surface directional reflectance - mosaic | Orthorectified Surface reflectance (0-1 unitless, scaled by 10,000) computed from the NEON Imaging Spectrometer (NIS) per pixel; data are orthorectified and output onto a fixed, uniform spatial grid using nearest-neighbor resampling (tbr). Level 1 flight lines over a given site are mosaicked into single product; spatial resolution is 1m. | Level 3 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP1.30008 | Spectrometer orthrorectified at-sensor radiance - flightline | Calibrated radiance in units of uW/cm^2-sr-nm as measured by the NEON Imaging Spectrometer is orthorectified and output onto a fixed, uniform spatial grid using nearest-neighbor resampling. Fixed spatial grid is based on the native spatial resolution which is driven by the aircraft altitude; data are provided by flightline. | Level 1 | Airborne Observation Platform (AOP) | Land Use, Land Cover, and Land Processes
DP1.20276 | Stable isotope concentrations in groundwater | Grab samples for stable isotopes of water in groundwater | Level 1 | Aquatic Observation System (AOS) | EcohydrologyBiogeochemistry
DP1.00038 | Stable isotope concentrations in precipitation | Stable isotope ratios of 18O and 2H in precipitation water | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrologyBiogeochemistry
DP1.20206 | Stable isotope concentrations in surface waters | Grab samples for stable isotope chemistry including water and organic matter, in lakes, non-wadeable streams, and wadeable streams | Level 1 | Aquatic Observation System (AOS) | EcohydrologyBiogeochemistry
DP1.20048 | Stream discharge field collection | Discharge measurements from field-based surveys | Level 1 | Aquatic Observation System (AOS) | Ecohydrology
DP4.00130 | Stream discharge | Continuous measurements of stream discharge calculated from a stage-discharge rating curve and sensor-based measurements of water surface elevation. | Level 4 | Aquatic Instrument System (AIS) | Ecohydrology
DP4.00133 | Stream discharge rating curve | Rating curve generated from manual wading surveys of stream discharge. Used to calculate continuous measurements of stream discharge. | Level 4 | Aquatic Instrument System (AIS) | Ecohydrology
DP4.00131 | Stream morphology map | Map showing the morphology of streams. These maps denote topography of the stream basin as well as location of the thalweg, coarse woody debris, gravel/sand bars, and other features of interest. | Level 4 | Aquatic Observation System (AOS) | EcohydrologyLand Use, Land Cover, and Land Processes
DP4.00001 | Summary weather statistics | Present summary statistics for biometeorological variables for NEON weather stations at core TIS sites. Statistics will include means, standard deviations, maxima, and minima for periods of days, months, and years. Engineering-grade product only. | Level 4 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.20138 | Surface water microbe cell count | Cell counts from surface water microbial collection in lakes, wadeable streams, and non-wadeable streams | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20141 | Surface water microbe community composition | Counts and relative abundances of archaeal, bacterial, and fungal taxa observed in surface water microbial communities in lakes, non-wadeable streams, and wadeable streams | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20278 | Surface water microbe group abundances | Counts and relative abundances of marker genes from total archaea, bacteria, and fungi observed by qPCR in surface water microbial communities | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20282 | Surface water microbe marker gene sequences | DNA sequence data from ribosomal RNA marker genes from surface water samples | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20281 | Surface water microbe metagenome sequences | Metagenomic sequence data from surface water samples | Level 1 | Aquatic Observation System (AOS) | BiogeochemistryOrganisms, Populations, and Communities
DP1.20053 | Temperature (PRT) in surface water | Surface water temperature, available as one-, five-, and thirty-minute averages, measured by a platinum resistance thermometer at the sensor location in lakes, wadeable and non-wadeable streams | Level 1 | Aquatic Instrument System (AIS) | EcohydrologyBiogeochemistry
DP1.20264 | Temperature at specific depth in surface water | Sensor based measurements of water temperature in lake and river sites. Temperature is measured at specific depths by a fixed-length buoy-mounted array of temperature sensors. | Level 1 | Aquatic Instrument System (AIS) | Ecohydrology
DP1.20217 | Temperature of groundwater | Sensor based measurement of groundwater temperature in each well. | Level 1 | Aquatic Instrument System (AIS) | EcohydrologyBiogeochemistry
DP1.10092 | Tick-borne pathogen status | Presence/absence of a pathogen in each single tick sample | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP1.10093 | Ticks sampled using drag cloths | Abundance and density of ticks collected by drag and/or flag sampling (by species and/or lifestage) | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and Communities
DP2.30016 | Total biomass map - spectrometer - flightline | Mass of all above ground organic matter per unit area at particular time; estimate of biomass derived from correlation with NDVI and LAI parameters; data are provided by flightline data are provided by flightline at equivalent resolution to spectrometer orthorectified surface directional reflectance. | Level 2 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP3.30016 | Total biomass map - spectrometer - mosaic | Mass of all aboveground organic matter per unit area at particular time; estimate of biomass derived from correlation with NDVI and LAI parameters; mosaicked from the total biomass level 2 product onto a spatially uniform grid at 1 m spatial resolution and provided as 1 km by 1 km tiles. | Level 3 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP1.00003 | Triple aspirated air temperature | Air temperature, available as one- and thirty-minute averages derived from triplicate 1 Hz temperature observations. Observations are made by sensors located at the top of the tower infrastructure. Temperature observations are made by three platinum resistance thermometers, which are housed together in a fan aspirated shield to reduce radiative biases. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP2.30026 | Vegetation indices - spectrometer - flightline | NDVI - Normalized ratio of NIR and IR bands; characterizes the "red edge" in vegetation spectra. SAVI - Normalized ratio of 850 nm and 650 nm bands with gain and offset factors to minimize soil contribution in result; primary input to LAI product. EVI - Normalized ratio of NIR and IR bans (red edge characterization); includes Blue channel for better aerosol characterization. Data are provided by flightline; additional indices will be assessed and added to this product | Level 2 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP3.30026 | Vegetation indices - spectrometer - mosaic | NDVI - Normalized ratio of NIR and IR bands; characterizes the "red edge" in vegetation spectra. SAVI - Normalized ratio of 850 nm and 650 nm bands with gain and offset factors to minimize soil contribution in result; primary input to LAI product. EVI - Normalized ratio of NIR and IR bans (red edge characterization); includes Blue channel for better aerosol characterization. Level 2 products derived from individual flight lines over a given site are mosaicked into single product; spatial resolution is 1m. | Level 3 | Airborne Observation Platform (AOP) | BiogeochemistryLand Use, Land Cover, and Land Processes
DP1.20288 | Water quality | In situ sensor-based specific conductivity, concentration of chlorophyll a, dissolved oxygen content, fDOM concentration, pH, and turbidity, available as one- or five-minute instantaneous measurements in surface water of lakes, wadeable streams, and non-wadeable streams. | Level 1 | Aquatic Instrument System (AIS) | EcohydrologyBiogeochemistry
DP1.00013 | Wet deposition chemical analysis | Total dissolved chemical ion concentrations of sulfate (SO4 2-), nitrate (NO3-), chloride (Cl-), bromide (Br-), ammonium (NH4+), phosphate (PO4 3-), calcium (Ca2+), magnesium (Mg2+), potassium (K+), sodium (Na+), and pH/Conductivity in precipitation water; collected at TIS and AIS sites. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrologyBiogeochemistry
DP1.20059 | Windspeed and direction above water on-buoy | Wind speed and direction; observations are made by 2-D sonic anemometer sensors located on lake and river buoys. | Level 1 | Aquatic Instrument System (AIS) | AtmosphereEcohydrology
DP1.10098 | Woody plant vegetation structure | Structure measurements, including height, canopy diameter, and stem diameter, as well as mapped position of individual woody plants | Level 1 | Terrestrial Observation System (TOS) | Organisms, Populations, and CommunitiesLand Use, Land Cover, and Land Processes
DP1.20219 | Zooplankton collection | Collection of zooplankton from water column samples in lakes | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and Communities
DP1.20221 | Zooplankton DNA barcode | CO1 DNA sequences of the zooplankton community | Level 1 | Aquatic Observation System (AOS) | Organisms, Populations, and Communities
DP1.00010 | 3D wind attitude and motion reference | Measurement of 3D anemometer attitude and motion. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 1 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.00007 | 3D wind speed, direction and sonic temperature | Three-dimensional windspeed and direction measured by sonic anemometer; air temperature measured by the 3-D sonic anemometer. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistry
DP1.00036 | Atmospheric CO2 isotopes | Profile measurements of CO2 isotope concentration, 13C stable isotope ratio in CO2, and water vapor concentration at each tower level. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistry
DP1.00037 | Atmospheric H2O isotopes | Profile measurements of water vapor isotope concentration, 18O and 2H stable isotope ratio in water vapor at each tower level. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrologyBiogeochemistry
DP4.00067 | Carbon dioxide flux | Carbon dioxide flux of CO2 is estimated based on the eddy covariance technique from sonic anemometer measurements of vertical winds and an IRGA measurement of CO2 concentration and tower profile measurements of CO2 concentration. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 4 | Terrestrial Instrument System (TIS) | Biogeochemistry
DP1.00099 | CO2 concentration - storage | Concentration of CO2 in profile of tower; used in calculation of storage terms in eddy covariance calculations of carbon exchange. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistry
DP1.00034 | CO2 concentration - turbulent | Concentration of CO2 at the top of the tower; used in calculation of turbulent terms in eddy covariance calculations of carbon exchange. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistry
DP2.00008 | CO2 concentration rate of change | Time rate of change of CO2 concentration (storage component only) over 30 minutes at each measurement level along the vertical tower profile. Gap-filling is not applicable. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 2 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistry
DP3.00009 | CO2 concentration rate of change profile | Time rate of change of CO2 concentration (storage component only) over 30 min, spatially interpolated along the vertical tower profile. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 3 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistry
DP4.00201 | Flux footprint characteristics | The eddy-covariance flux measurement sources its information from an upstream surface, the footprint. Footprint characteristics provide the biophysical surface information of this time-varying area, necessary to distinguish temporal effects (e.g., biological activity) from spatial effects (e.g., changing wind direction). This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 4 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistryLand Use, Land Cover, and Land Processes
DP1.00100 | H2O concentration - storage | Concentration of H2O in profile; used in calculation of storage terms in eddy covariance calculations of water vapor exchange. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrologyBiogeochemistry
DP1.00035 | H2O concentration - turbulent | Concentration of H2O at the top of the tower; used in calculation of turbulent terms in eddy covariance calculations of water vapor exchange. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 1 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrologyBiogeochemistry
DP2.00009 | H2O concentration rate of change | Time rate of change of H2O concentration (storage component only) over 30 minutes at each measurement level along the vertical tower profile. Gap-filling is not applicable. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 2 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrologyBiogeochemistry
DP3.00010 | H2O concentration rate of change profile | Time rate of change of H2O concentration (storage component only) over 30 min, spatially interpolated along the vertical tower profile. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 3 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrologyBiogeochemistry
DP4.00137 | Latent heat flux | Latent heat flux is estimated based on the eddy covariance technique using a sonic anemometer to measure vertical winds and an IRGA sensor to measure water vapor and tower profile measurements of water vapor. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 4 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrologyBiogeochemistry
DP4.00007 | Momentum flux | Momentum flux is estimated based on the eddy covariance technique using a sonic anemometer to measure vertical and horizontal winds. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 4 | Terrestrial Instrument System (TIS) | Atmosphere
DP4.00002 | Sensible heat flux | Sensible heat flux is estimated based on the eddy covariance technique using a sonic anemometer to measure vertical winds and air temperature and tower profile measurements of air temperature. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 4 | Terrestrial Instrument System (TIS) | AtmosphereEcohydrologyBiogeochemistry
DP4.50036 | Soil CO2 flux - MDP sensor | Flux of carbon dioxide from the soil surface. Generated only by the mobile deployment platforms (MDP); for soil CO2 concentration at NEON towers see NEON.DOM.SITE.DP1.00095. | Level 4 | Terrestrial Instrument System (TIS) | AtmosphereBiogeochemistry
DP1.20008 | Specific conductivity of surface water | In situ sensor-based measurements of specific conductance in surface water | Level 1 | Aquatic Instrument System (AIS) | Ecohydrology
DP1.20054 | Temperature (digital thermistor) of surface water | In situ sensor-based measurements of temperature in surface water using a digital thermistor | Level 1 | Aquatic Instrument System (AIS) | Ecohydrology
DP2.00024 | Temperature rate of change | Time rate of change of temperature (storage component only) over 30 minutes at each measurement level along the vertical tower profile. Gap-filling is not applicable. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 2 | Terrestrial Instrument System (TIS) | Atmosphere
DP3.00008 | Temperature rate of change profile | Time rate of change of temperature (storage component only) over 30 min, spatially interpolated along the vertical tower profile. This data product is bundled into DP4.00200, Bundled data products - eddy covariance, and is not available as a stand-alone download. | Level 3 | Terrestrial Instrument System (TIS) | Atmosphere
DP2.00004 | Temporally interpolated biological temperature | Temporally interpolated (i.e., to gap fill missing data) biological temperature (i.e. surface temperature) measured via IR temperature sensors located in the soil array and at multiple heights on the tower infrastructure. | Level 2 | Terrestrial Instrument System (TIS) | AtmosphereLand Use, Land Cover, and Land Processes
DP2.00016 | Temporally interpolated PAR-line | Temporally interpolated (i.e., to gap fill missing data) Photosynthetically Active Radiation (PAR). Observations are made by sensors at the soil surface covering a one meter length. | Level 2 | Terrestrial Instrument System (TIS) | Atmosphere
DP2.00005 | Temporally interpolated photosynthetically active radiation | Temporally interpolated (i.e., to gap fill missing data) Photosynthetically Active Radiation (PAR). Observations are made by sensors located at multiple heights on the tower infrastructure and a single sensor located on the aquatic meteorology station. | Level 2 | Terrestrial Instrument System (TIS) | Atmosphere
DP2.00020 | Temporally interpolated shortwave and longwave radiation (net radiometer) | Temporally interpolated (i.e., to gap fill missing data) net radiation that is composed of incoming and outgoing shortwave and longwave radiation. These data products are available as one- and thirty-minute averages from sensors located on the TIS tower and located on the aquatic meteorology station. | Level 2 | Terrestrial Instrument System (TIS) | Atmosphere
DP2.00006 | Temporally interpolated soil temperature | Temporally interpolated (i.e., to gap fill missing data) soil temperature at various depth below the soil surface from 2 cm up to 200 cm at non-permafrost sites (up to 300 cm at Alaskan sites). Data are from all five Instrumented Soil Plots per site and presented as 1-minute and 30-minute averages. | Level 2 | Terrestrial Instrument System (TIS) | AtmosphereLand Use, Land Cover, and Land Processes
DP2.00023 | Temporally interpolated triple aspirated tower temperature | Temporally interpolated (i.e. to gap fill missing data) air temperature, derived from triplicate 1 Hz temperature observations. Observations are made by sensors located at the top of the tower infrastructure. Temperature observations are made by three platinum resistance thermometers, which are housed together in a fan aspirated shield to reduce radiative biases. | Level 2 | Terrestrial Instrument System (TIS) | Atmosphere
DP1.20055 | Water temperature and conductivity in lakes from subsurface moored array of sensors | Measurements of water temperature and conductivity in lakes from subsurface moored array of sensors. Temperature and conductivity are measured at specific depths, which are monitored via a pressure transducer. The subsurface mooring enables continuous winter monitoring beneath ice at frozen lake sites. | Level 1 | Aquatic Instrument System (AIS) | Ecohydrology